## Supplier Quotations
CONTOSO MEDICAL CENTRE — SUPPLIER QUOTATION COMPARISON
Tender Ref: CMC/PROC/2025/014 ¦ Item: Portable Ultrasound Machine ¦ Quantity: 2 units
Evaluation Date: 2 May 2025 ¦ Evaluated by: Michael Lim, Head of Procurement
Vendor Name | Country | Unit Price (RM) | Qty | Total Unit Cost (RM) | Annual Maint. (RM) | Warranty (yrs) | Lead Time (wks) | Technical Score (/10) | Local Support | Notes
MedTech Solutions Sdn Bhd | Malaysia | 185000 | 2 | 370000 | 12000 | 2 | 6 | 8.5 | Yes | Local manufacturer; good spare parts availability; limited international track record
Siemens Healthineers | Germany | 210000 | 2 | 420000 | 18000 | 3 | 10 | 9.5 | Yes | Premium brand; gold-standard image quality; 3yr full warranty incl. software; longest lead time
GE Healthcare | USA | 195000 | 2 | 390000 | 16500 | 2 | 12 | 9 | Yes | Strong clinical reputation; 2yr warranty; longest lead time at 12 weeks is a concern
Mindray Medical | China | 145000 | 2 | 290000 | 9000 | 2 | 4 | 7.5 | No | Most competitive price; no local support office; lower technical score; short lead time
Philips Healthcare | Netherlands | 225000 | 2 | 450000 | 20000 | 3 | 8 | 9.2 | Yes | Premium quality; highest TCO; 3yr warranty; excellent AI-assisted imaging features
3-Year TCO Formula: (Unit Price × Quantity) + (Annual Maintenance Cost × 3)
Example (MedTech): (185,000 × 2) + (12,000 × 3) = 370,000 + 36,000 = RM 406,000
EVALUATION SCORING GUIDE
Criterion | Weight (%) | How to Score (1–10)
Price (3-Year TCO) | 35% | Score 10 for lowest TCO; scale down proportionally. Lowest=10, highest=1. Formula: 10 - ((TCO - min_TCO)/(max_TCO - min_TCO)) × 9
Technical Compliance | 25% | Use the Technical Score column directly (already out of 10). Higher score = better compliance with clinical specs.
Delivery Lead Time | 20% | Score 10 for shortest lead time (4 wks), 1 for longest (12 wks). Formula: 10 - ((lead_time - 4)/(12-4)) × 9
Warranty & Support | 15% | 3yr warranty + local support = 10; 2yr + local = 6; 2yr + no local = 3; 3yr + no local = 7
Local Support Presence | 5% | Yes = 10, No = 1